	PRAKTICA 28 TECHNICAL SHEET 

	Product Class (EN 303-5)
	3

	Nominal power max.
	28 kw (24080 kcal/h)

	
Thermal power max.
	25 kw (21500 kcal/h)

	
Thermal power min.
	7,5 kw (6450 kcal/h)

	Yield at maximum
	89%

	Yield at Low
	91%

	Temperature of exhaust smoke at maximum
	180 °C

	Temperature of exhaust smoke at minimum
	80 °C

	Water maximum temperature set
	80 °C

	Water maximum operating temperature
	95 °C

	Dust - OGC - NOx (10% O2)
	41 mg/Nm3 – 37 mg/Nm3- 159 mg/Nm3

	CO at 10% O2 Min and Max
	0,029 – 0,024%

	CO2 Min and Max
	6,9% - 11,6%

	Recommended draught
at maximum power
	0,20 mbar - 20 Pa

	Recommended draught at min power
	0,10 mbar - 10 Pa

	mass of smoke
	15,6 g/sec

	Pellet hopper  capacity
	100 kg

	Type of fuel pellets
	Pellet diameter 6-8 mm  ,  5-30 mm lenght

	
Horly consumption
	Min ~ 1,7 kg/h* - Max ~ 6,0 kg/h*

	
Runtime between feeds
	Al min ~ 59 h* - Al max ~ 17 h*

	Heated volume m3
	538/40 – 614/35 – 717/30 **

	Water tank
	50 litri

	Maximum working pressure
	3 bar – 300 kPa

	
Combustion air inlet
	Ø 100 mm

	Smoke outlet
	Ø 150 mm

	Air Vent
	100 cm2

	Nominal absorbtion  (EN 60335-1)
	100 W (max 1100 W)

	Voltage and frequency
	230 Volt / 50 Hz

	Net weight
	215 kg

	Weight with packaging
	225 kg

	* Data that may vary depending on the fuel used
** Heating capacity accordingly to the required  power per m3 (respectively 40-35-30 Kcal / h each  m3)


